10.3 	Food and Catering (drinking water)

Aim

[The aim of this procedure is to ensure that drinking water on board is of sufficient quality and is available in sufficient quantities given the size of the crew on board.] (Order on Food on Danish Vessels)

Objective:

[Drinking water on board must comply with current quality requirements] (Notices B II-3 Rule 20.2) and [that there is always a sufficient quantity on board available to seafarers] (Order on Food on Danish Vessels), in accordance with applicable legislation.

Roles and responsibility:

The shipowner is responsible for ensuring that the ship is constructed to allow sufficient quantities and quality of water to be produced or bunkered. (Compliance with Notices B II-3 Rule 20). The shipowner is responsible for establishing a system that provides quality controls for water in accordance with applicable legislation. (Specifically stated in the new Notices B II-3 Rules 20.2 for ”all vessels”)

Procedure:

At the request of the Danish Maritime Authority, guidance will be drawn up to ensure compliance with the quality requirements for potable water. This guidance is to be drawn up by Seahealth.

Control:

Controls on drinking water are to comply with the criteria set out in Seahealth’s ”Guidance” with subsequent additions.

The results of laboratory tests and the ship's own tests are to be reported to the company and kept on board for three years.

References:

Danish Maritime Authority Notice B II – 3 Rules 20, 20.1 and 20.2